## Cube test request
[5 empty] | Page | of
Material Specimen Collection Form 物料收集
ATL Job No.:
Project Name/項目名稱: |  |  |  |  | Contact Person/連絡人:
Customer/ 顧客: |  |  |  |  | Telephone no./電話號碼:
Job Description/工作說明: |  |  |  |  | Customer Reference no./客戶參考編號:
Information Provided by Customer 客戶提供資料:
Specimen/樣品: |  | ○ Concrete Cube/混凝土立方體 ○ Grout Cube/灌漿立方體 ○ Concrete Core/混凝土芯
○ Steel Bar/鋼筋 ○ Steel Plate/鋼板 ○ Rock Core/岩石芯樣本 ○ other:
Specimen description/樣品描述:
Grade/級別: |  |  |  | Batch no./批次號:
Manufacturer/製造商: |  |  |  | Certificete no./證書編號:
Nominal size/尺寸大小: |  |  |  | Supplier/供應商:
No. of specimen/樣品數量: |  |  |  | Test Standard/測試標準:
Storage condition/儲存條件 : |  | ○humidity chamber/濕度室 ○water tank/水箱 ○air dry/風乾
○ambient temp/環境溫度 ○other(specify)/其他(指定):
Type of Test /測試類型: |  | ○compressive strength/抗壓強度 ○tensile test/拉伸試驗 ○bend & rebend/彎曲和反彎曲
○impact/衝擊 ○hardness/硬度 ○ UCS ○other(specify)/其他:
Information Provided by Laboratory
Specimen collection/樣品收集: |  | ○ collect by ATL ○ deliver by client/由客戶送來 |  |  | Date received/收到日期: :
Specimen Information:
Sample No./樣品編號 | Size大小/Dimension尺寸 |  | Type of test/測試類型: | ATL reference no./實驗室參考編號 |  | Remark/備註
compressive / tesnile / bend / rebend / impact / hardness / UCS
| Customer Representative/客戶代表人: |  |  | Received by/接收人:
Doc: ATL-WS-SRF-C052 REV.A

## Sheet1
[6 empty] | Page | of
Data Record Sheet
Concrete Cube Compressive Test
Weather : | Fine / Cloudy / Rainy |  |  |  | Our Job No.:
Project Name/項目名稱::
Client/客户:
Job Description/工作说明:
Date of Test/测试日期: |  | to |  |  | Order Received on/订单接收日期:
Information Provided by Customer
Sample No./樣品編號 : |  |  |  |  | Client reference no./客户参考号:
Specified strength/指定的強度: |  |  |  |  | Date casted/铸造日期： :
Location of pouring/浇注位置:: |  |  |  |  | Designed slump/塌落度：: | S2 / S3 / S4
Admixture used/外加剂使用: |  |  |  |  | Method of compaction/压实方法：: | compacting bar 压实杆/ vibration table 振动台
Nominal cube size/立方体尺寸：: |  | No. of cubes/立方体数：: |  |  | Supplier/供应商::
Storage condition prior to delivery to lab. /交付实验室前的储存条件：: |  |  |  | humidity chamber湿度室 / water tank水箱 / protect with wet sack湿袋保护
Information Provided by Laboratory
Lab Ref. No./实验室号：: |  |  |  |  | *Condition as received / appearance/接收状态/外观:
Date received /收到日期:: |  |  |  |  | Lab. Curing method/实验室養護方法: | Humidity Chamber/湿度室
Date tested /测试日期:: |  | ( time: | ) |  | Curing temp.(max/min)/養護温度（最大/最小） | /
Age at test /测试年齡: |  | (days/日) |  |  | Condition at test/测试条件: | Damp 濕/ Dry 干
Equipment Used
Testing Machine/测试机:: | DYE-2000SKN ( |  | ) | Range: 0-2000kN |  | Equip. no./设备编号: | ERN-INS-04-A
Digital Scales/数字秤: | [5 empty] | Calipers/卡尺:
Test Results
Sample No./樣品編號
Lab. Reference No./实验室号
Weight in Air/空气中的重量 |  | (g)
Weight in Water/水中重量 |  | (g)
Cube dimension/立方体维度 | W | (mm)
| L | (mm)
| H | (mm)
Saturated Density/饱和密度 |  | (kg/m3)
volume by calculation/计算体积
Max. Load at Failure/最大失效载荷 |  | (kN)
Compressive Strength/抗压强度 |  | (MPa)
Fracture Type/裂缝类型 |  |  | Satisfactory 满意/ Unsatisfactory不滿意 |  | Satisfactory 满意/ Unsatisfactory不滿意 |  | Satisfactory 满意/ Unsatisfactory不滿意
*Remarks:- |  | O - | Oversized/尺寸过大 | CS - | Corner damaged at site/現場角损坏 |  | S - | Segregation/隔离
N - | Normal/正常 | U - | Undersized/尺寸过小 | CL - | Corner damaged in lab./試驗中角损坏 |  | R - | Rippled/波纹
V - | Void/无效 | B - | Bad dimensioning/尺寸标注错误 | ES - | Edge damaged at site/现场边缘损坏 |  | Q - | Out of squareness
H - | Honeycombing | D - | Dry on receipt | EL - | Edge damaged in lab./試驗中边缘损坏。 |  |  | /不方正
Tested by: |  |  |  |  | Reviewed by:
Doc: ATL-WS-SRF-020 REV.A